{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Macro","License","Introduction","Wetland","Lagoon","Outputs"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Macro","index":0,"n_rows":18,"n_cols":2,"rows_kept":18,"cut":false,"hidden":false,"merged":[[20,2,20,3]]}
[]
[null,"Enable Macros"]
[]
[null,"Before you can use RTI's Lagoon/Wetland Tool you will need to enable Macros in Excel."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Once you have enabled Macros in Excel, continue to the Lagoon/Wetland Tool."]

{"sheet":"License","index":1,"n_rows":25,"n_cols":5,"rows_kept":25,"cut":false,"hidden":true,"merged":[[24,2,24,3],[24,5,24,6]]}
[]
[null,"RTI's Lagoon and Wetland Tool"]
[]
[]
[]
[null,"Terms and conditions:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"I agree to these conditions:  "]
[]
[]
[]
["Version 1.0 ",null,null,null,"Expires: "]

{"sheet":"Introduction","index":2,"n_rows":6,"n_cols":2,"rows_kept":6,"cut":false,"hidden":true,"merged":[[17,2,17,3]]}
[]
[]
[]
[]
[]
[null,"RTI's Lagoon and Wetland Creator"]

{"sheet":"Wetland","index":3,"n_rows":35,"n_cols":20,"rows_kept":35,"cut":false,"hidden":true,"merged":[[41,2,41,4],[20,7,22,13],[0,0,1,4],[3,4,4,5],[33,15,33,16],[24,4,25,5],[20,2,20,3],[21,2,21,3],[22,2,22,3],[23,2,23,3],[19,2,19,3]]}
["Wetland Tool"]
[]
[]
[null,null,null,null,"Plan View",null,"Liner Area:",null,null,"m²"]
[null,null,null,null,null,null,"Liner Length:",null,null,"m"]
[null,null,null,null,null,null,"Liner Width:",null,null,"m"]
[null,null,null,"Liner",null,null,null,null,null,null,null,null,null,null,null,"Liner"]
[]
[]
[null,null,null,null,null,null,"Surface Area:",null,"m²"]
[]
["Inflow BOD:",null,"mg/L",null,null,null,null,null,null,null,null,null,null,null,null,null,"Outflow BOD:",null,null,"mg/L"]
[]
[null,"Influent",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Effluent"]
[]
[]
[]
[null,null,null,null,"Thick Gravel",null,null,"Media",null,null,null,null,null,null,"Thick Gravel"]
[]
[null,null,"Outputs"]
[null,"Detention Time:",null,null,"Days"]
[null,"Total Volume:",null,null,"m³"]
[null,"Concrete Blocks:",null,null,"Blocks"]
[null,"Number of Plants:",null,null,"Plants"]
[null,null,null,null,"Profile View"]
[]
[null,null,null,"Liner","2.0 m",null,null,null,null,null,null,null,null,null,"2.0 m","Liner"]
["Inflow BOD",null,"mg/L",null,null,"0.01 m",null,"Water Level"]
[null,"Influent",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Wet well And cover"]
[null,null,null,null,null,null,"Volume:",null,"m³"]
[null,null,null,null,null,null,null,null,null,"Depth:",null,"m",null,null,null,null,null,"Effluent outlet (variable height)"]
[]
[]
[null,null,null,null,"Thick Gravel",null,null,"Media",null,null,null,null,null,null,"Thick Gravel","Outflow BOD:",null,null,"mg/L"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Effluent"]

{"sheet":"Lagoon","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[[42,2,42,3],[43,2,43,3],[31,75,31,76],[33,20,33,21],[33,65,33,66],[34,20,34,21],[34,65,34,66],[37,57,37,58],[31,30,31,31],[31,43,31,44],[31,45,31,46],[31,58,31,59],[31,60,31,61],[44,2,44,3],[11,73,11,74],[0,10,0,12],[4,2,5,3],[4,52,4,53],[4,67,4,68],[5,52,5,53],[5,67,5,68],[1,10,2,12],[6,52,6,53],[6,67,6,68],[11,11,11,12],[11,28,11,29],[11,43,11,44],[12,65,12,66],[26,2,27,3]]}

{"sheet":"Outputs","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[[27,2,27,3],[0,0,1,4],[10,2,10,3],[11,2,11,3],[12,2,12,3],[13,2,13,3],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[16,2,16,3],[20,2,20,4],[14,10,14,11],[6,2,7,3],[6,7,7,8],[8,7,9,11],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,7,14,9],[10,10,10,11],[11,10,11,11],[12,10,12,11],[13,10,13,11],[10,16,10,17],[11,16,11,17],[12,16,12,17],[13,16,13,17],[8,13,9,17],[10,13,10,15],[11,13,11,15],[12,13,12,15],[13,13,13,15]]}